## Cervical Spine MRI
### Scan Coverage and Planning
Cervical Spine Anatomy page in development.
#### Sagittal Plane
On the axial and dorsal scout imaging, plan the slices parallel to the center of the spinal cord. On the sagittal scout image, center the FOV on C5. For each patient, the FOV should be re-sized to include the Cerebellum to include the T3 vertebral body. On the dorsal scout image, add enough slices to cover the entire vertebral body out to the transverse processes. Be sure to use an ODD number of slices. This will ensure that the center slice is in true midline.

#### Axial Plane
There are two common variations for planning axial slices in the cervical spine, parallel to the intervertebral disc or perpendicular to the spinal cord. Both variations will yield diagnostic images, so be sure to check clinician preference. In the image below, axial slices prescribed parallel to the disc are in orange, and slices prescribed perpendicular to the cord are in yellow. Center the FOV in the middle of the intervertebral disc and check dorsal images to ensure that the slices are not tilted tot he left or right. If patient positioning is suboptimal, it may be necessary to rotate the slices to match any side-to-side curve of the neck. If axial slices are being prescribed caudally toward C5/C6/C7, check axial and dorsal images to ensure wrap won't occur.

#### Dorsal Plane
The dorsal plane angulation is tailored to the clinical scenario, and may not be consistent between exams. A sample slice planning is below in orange. Due to the natural curve of the spine, there isn't one angle that will get all the spinal cord in one slice, to be sure to adjust the angle to best emphasize pathology noted on prior axial or sagittal images. It is good practice to extend slice coverage ventrally beyond the vertebral bodies, as the Brachial Plexus nerves exit ventrocaudally from C4/5 to T1/2. Incidental findings are also frequently located on the dorsal plane (Right image, red arrow)

### Typical Scan Protocol
Sagittal T2
Sagittal STIR
Sagittal T1
Axial T2
Axial T1
Contrast
Sagittal T1
Axial T1
#### Recipes for Cervical Spine Sequences
##### Sagittal T2
In Plane Resolution	.6mm x .6mm
TR	3000+
TE	85-120
ETL	16-24